## Sheet1
Calibration Date | Calibration Power | Power Meter Measured(uW) | Probe Measured(uW) | Ratio | Max Polarization (uW) | Min Polarization(uW) | Polarization Power Ratio (expect ~1000:1) | Calibrated By
2024-12-09 | NA | 29 | 311 | 10.7241 | 373 | 0.3 | 1243.3333 | speana
2025-04-04 | 100mW | 691 | 7321 | 10.5948 | 442 | 0.465 | 950.5376 | speana